{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":12,"rows_kept":4,"merged":[[0,0,0,11]]}
["2022年燃气表产品及其企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州金燃智能系统有限公司","广州市南沙区东涌镇骏马大道19号自编2栋1#301室","广州金燃智能系统有限公司","广州市南沙区东涌镇骏马大道19号自编2栋1#301室","无线远传切断型膜式燃气表","金燃智能","JRSD2.5-N","2022-09-20","未发现不合格","/","/"]
[2,"广州番禺新奥燃气有限公司","广州市番禺区南村镇翠环街6号(综合管理楼)","廊坊新奥智能科技有限公司","河北省廊坊市经济技术开发区华祥路106号","无线远传膜式燃气表","新奥","W-G2.5-IXn04","22年07月制造","未发现不合格","/","/"]