{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":19,"n_cols":12,"rows_kept":19,"merged":[[0,0,0,11],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,8],[3,9,4,9],[3,10,4,10],[3,11,4,11],[6,0,7,0],[6,1,7,1],[6,2,7,2],[6,3,7,3],[6,4,7,4],[6,5,7,5],[6,6,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,10],[6,11,7,11],[8,0,9,0],[8,1,9,1],[8,2,9,2],[8,3,9,3],[8,4,9,4],[8,5,9,5],[8,6,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,10],[8,11,9,11],[10,0,11,0],[10,1,11,1],[10,2,11,2],[10,3,11,3],[10,4,11,4],[10,5,11,5],[10,6,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,10],[10,11,11,11],[12,0,13,0],[12,1,13,1],[12,2,13,2],[12,3,13,3],[12,4,13,4],[12,5,13,5],[12,6,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,10],[12,11,13,11],[14,0,15,0],[14,1,15,1],[14,2,15,2],[14,3,15,3],[14,4,15,4],[14,5,15,5],[14,6,15,6],[14,7,15,7],[14,8,15,8],[14,9,15,9],[14,10,15,10],[14,11,15,11],[16,0,17,0],[16,1,17,1],[16,2,17,2],[16,3,17,3],[16,4,17,4],[16,5,17,5],[16,6,17,6],[16,7,17,7],[16,8,17,8],[16,9,17,9],[16,10,17,10],[16,11,17,11],[18,0,19,0],[18,1,19,1],[18,2,19,2],[18,3,19,3],[18,4,19,4],[18,5,19,5],[18,6,19,6],[18,7,19,7],[18,8,19,8],[18,9,19,9],[18,10,19,10],[18,11,19,11]],"flags":["formulas_cached_only"]}
["2022-2023年度电子计价秤产品企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州市中庆达电子衡器有限公司","广州市海珠区新业路78号之5自编之四","广州市中庆达电子衡器有限公司","广州市海珠区新业路78号之5自编之四"," 电子计价秤 ","粤兴","ACS-15 ","2022-12-01","不合格","“外观检查（标志）”、“称量性能（称量检验）”、“除皮（除皮秤量检验）”、“倾斜”"]
[2,"广州广衡电子衡器有限公司","广州市番禺区大石街会江石中二路80号101房","广州广衡电子衡器有限公司","广州市番禺区大石街会江石中二路80号101房"," ACS-30kg系列电子秤（非自动衡器） ","图文商标","ACS-30 ",2022.12,"不合格","“外观检查（标志）”"]
[]
[3,"广州市中庆达电子衡器有限公司","广州市海珠区新业路78号之5自编之四","广州市中庆达电子衡器有限公司","广州市海珠区新业路78号之5自编之四"," 电子计价秤 ","粤兴","ACS-30 ","2022-12-28","不合格","“外观检查（标志）”、“称量性能（称量检验）”、“除皮（除皮秤量检验）”、“倾斜”"]
[4,"广州金泰尔仪器有限公司","广州市海珠中路123号首层","广州市中兴电子衡器厂","广州市经济技术开发区开发大道231号"," 电子计价秤","图形商标（中字）","ACS-15 ","2022-10-01","未发现不合格"]
[]
[5,"广州金泰尔仪器有限公司","广州市海珠中路123号首层","广州市中兴电子衡器厂","广州市经济技术开发区开发大道231号"," 电子计价秤","图形商标（中字）","ACS-30 ","2022-11-01","未发现不合格"]
[]
[6,"广州海芳言电子有限公司","广州市越秀区惠福西路314号地下","广州市中兴电子衡器厂","广州市经济技术开发区开发大道231号"," 电子计价秤","图形商标（中字）","ACS-3","2021-08-01","未发现不合格",null,"复检合格"]
[]
[7,"广州海芳言电子有限公司","广州市越秀区惠福西路314号地下","广州市中兴电子衡器厂","广州市经济技术开发区开发大道231号"," 电子计价秤","图形商标（中字）","ACS-6 ","2021-08-01","未发现不合格"]
[]
[8,"广州市增城汇衡厨具商店","广州市增城新塘西宁西路29号","广东香山电子科技有限公司 ","中山市南朗镇华南现代中医城思邈路28号","电子计价秤（非自动衡器） ","图形商标","ACS-30-A ",2022.1,"不合格","“除皮（除皮秤量检验）”、“偏载检验”"]
[]
[9,"广州世剑衡器电子有限公司","广州市番禺区石壁街韦涌村流芳祠路自编6号之一101","广东香山电子科技有限公司 ","中山市南朗镇华南现代中医城思邈路28号","电子计价秤（非自动衡器） ","图形商标","ACS-30-81 ",2022.11,"未发现不合格"]
[]
[10,"广州楷桦贸易有限公司","广州市天河区员村隔公山5号a201房","永康市华鹰衡器有限公司","浙江省永康市柿后工业功能区天河北路20号","电子计价秤","图形商标","ACS-30C6 ",2022.1,"不合格","“外观检查（铅封检查）”、“称量性能（秤量检验）”、“除皮（除皮秤量检验）”、“偏载检验”"]