{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":8,"n_cols":12,"rows_kept":8,"merged":[[0,0,0,11],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,5,2,5],[1,7,2,7],[1,8,2,8],[1,9,2,9],[1,10,2,10],[1,11,2,11]]}
["2023年消防应急灯产品及其企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称","生产单位地址","产品名称","商标","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[{"$nulls":3},"（标称）","（标称）",null,"（标称）"]
[1,"广州晋旭建材有限公司","广州市番禺区洛浦街迎宾路140-214号广州五洲城国际建材中心市场E116、E117号","广东敏华电器有限公司","广东省江门市荷塘镇为民闲步工业区","消防应急标志灯具","----","M-BLZD-1LROE I 5WCBD","2022-04-15","未发现不合格"]
[2,"广州晋旭建材有限公司","广州市番禺区洛浦街迎宾路140-214号广州五洲城国际建材中心市场E116、E117号","广东敏华电器有限公司","广东省江门市荷塘镇为民闲步工业区","消防应急照明灯具","----","M-ZFZD-E0.5W3058","2022-07-01","未发现不合格"]
[3,"广州市黄埔区粤永胜消防器材商行","广州市黄埔区东兴粮油批发城五金区374号","广东平安消防实业有限公司","佛山市南海区桂城街道平洲工业园永顺路","消防应急照明灯具","----","PA-ZFZD-E2W-DT1",20221126,"未发现不合格"]
[4,"广州市番禺区大石明安消防劳保用品经营部","广州市番禺区洛浦街海珠路恒生商贸批发市场中区4街1号铺","广东平安消防实业有限公司","佛山市南海区桂城街道平洲工业园永顺路","消防应急标志灯具","----","PA-BLZD-Ⅰ1LROE2W",20221129,"未发现不合格"]
[5,"广州焱炜贸易有限公司","广州市南沙区丰泽东路106号(自编1号楼)X1301-D9784(集群注册)(JM)","佛山市安迅照明科技有限公司","佛山市顺德区均安镇均安社区智安中路5号三楼之三","消防应急照明灯具","----","AX-ZFZD-E3WA","2022-12-01","不合格","使用说明书"]